SAFETY / ENVIRONMENT OF CARE

# CLINICAL ENVIRONMENTAL ROUNDS AND HAZARD SURVEILLANCE SURVEY REPORT

Survey Team: _______________________________________________________________	Area: ________________________________ 	Date: ___/___/___

Area Supervisor: ______________________________________	Advance Survey Review 	( Yes	   ( No		Present During Survey/Rounds?    ( Yes	   ( No

| INDICATOR MEASURES | # Pass | # Fail | N/A | FINDINGS/COMMENTS | PDCA – ACTIONS/FOLLOW-UP |
| --- | --- | --- | --- | --- | --- |
| GENERAL SAFETY |
| EOC manual current and accessible to staff |  |  |  |  |  |
| What is the EC? (general, security, hazmat, etc) |  |  |  |  |  |
| Sharps stored correctly, not accessible to public |  |  |  |  |  |
| Sharps containers mounted at correct height (4-4.5ft) |  |  |  |  | ( Work order generated |
| Sharps containers on floor in trolley |  |  |  |  |  |
| Sharps containers no more than ¾ full and functional |  |  |  |  |  |
| Surestep meters clean / vials current |  |  |  |  |  |
| Area free from signs of smoking (stairwell, patio…) |  |  |  |  |  |
| Staff knowledgable on smoking areas(pt/staff) |  |  |  |  |  |
| Temp. logs posted/current on medication fridge |  |  |  |  |  |
| Temp log posted on food refrigerator and patient food dated/labelled |  |  |  |  |  |
| Housekeeping/cleanliness adequate for area |  |  |  |  |  |
| Air ducts free of dust |  |  |  |  |  |
| Are wet floor signs used appropriately? |  |  |  |  |  |
| Trash/linen chutes locked (if applicable) |  |  |  |  | ( Work order generated |
| Patient bathrooms have working call system with directions for use clearly posted (Eng/Span) |  |  |  |  | ( Work order generated |
| Patient bathrooms can be opened in an emergency (punch lock or key, staff know location/procedure) |  |  |  |  |  |
| Work areas and stairwells adequately lit |  |  |  |  | ( Work order generated |
| Fall reduction measures in place (handrails secure, non-slip floor, free of clutter/obstructions) |  |  |  |  | ( Work order generated |
| Elevators phones/emergency bell in working order |  |  |  |  | ( Work order generated |
| Do staff have any safety concerns in their area? |  |  |  |  |  |
| Document destruction boxes in place |  |  |  |  |  |
| Clean/Dirty utility rooms utilized appropriately |  |  |  |  |  |
| Sterile supplies stored appropriately/dated |  |  |  |  |  |
| Linen covered / top of cart clear |  |  |  |  |  |
| Employee lounge/fridge clean |  |  |  |  |  |
| Adequate supplies/sink for hand washing |  |  |  |  |  |
| Isolation signage & PPE used appropriately |  |  |  |  |  |
| Patient care areas free of food/drinks |  |  |  |  |  |
| Alcohol gel dispensers in place / full |  |  |  |  |  |
| Signage readable / intact |  |  |  |  |  |
| Other observations/recommendations: |  |  |  |  |  |
| SECURITY MANAGEMENT # Pass # Fail N/A Comments |
| Locked units secure (BHS, ED, Pharmacy, Nursery) |  |  |  |  | ( Work order generated |
| 2. Doorknobs / handles functioning properly? |  |  |  |  |  |
| Staff lockers / valuables secure |  |  |  |  |  |
| Staff aware of location and know procedure for STAT alarms / alert stations | N= | N= |  |  | ( Work order generated |
| Staff wearing ID badge, picture clear and wearing appropriately (above waist) | N= | N= |  |  |  |
| Other persons(visitors, physicians, vendors, etc) in area have identification | N= | N= |  |  |  |
| Staff can answer question correctly : “What is your role in a Code Grey” | N= | N= |  |  |  |
| Staff can answer question correctly : “What is your role in a Code Silver” | N= | N= |  |  |  |
| Staff can answer question correctly : “What is your role in a Code Yellow” |  |  |  |  |  |
| Staff can answer question correctly : “What is your role in a Code Pink” | N= | N= |  |  |  |
| Staff can answer question correctly : “What is your role in a Code Purple” | N= | N= |  |  |  |
| Staff can answer question correctly: “What is your role in a Code Elope” | N= | N= |  |  |  |
| 10. Staff can answer correctly “How do you report an incident” | N= | N= |  |  |  |
| 11. Staff can answer correctly “How do you report a workplace violence issue” |  |  |  |  |  |
| 12. Other observations /recommendations: |  |  |  |  |  |
| HAZARDOUS MATERIALS AND WASTE MANAGEMENT # Pass # Fail N/A Comments |
| Hazardous materials are properly stored (compatability, secured, secondary containment). | N= | N= |  |  | ( Work order generated |
| Hazardous materials – cleaning fluids, chemicals, substances – are appropriately labeled (name, hazard, manufacturer) | N= | N= |  |  |  |
| Biohazardous waste is properly labeled, segregated from other wastes, kept in rigid container, secured |  |  |  |  |  |
| Pharmaceutical waste containers have only residual medication and NO needles |  |  |  |  |  |
| Staff know where to dispose of used batteries |  |  |  |  |  |
| Housekeeping carts and closets locked when not in use |  |  |  |  |  |
| Doors to soiled utility rooms locked |  |  |  |  |  |
| Are waste receptacles emptied before overflowing |  |  |  |  |  |
| Is there an insect or rodent problem in the area? |  |  |  |  | ( Work order generated |
| Chemical spill kit available/accessible (as applicable) |  |  |  |  |  |
| Compressed gas cylinders properly chained, upright No more than 2H tanks / 20E (504 cuft)stored in 1 hour rated room |  |  |  |  |  |
| Personal protective equipment in good supply, working order and used appropriately (as applicable) |  |  |  |  |  |
| Shower/eye wash stations functional, checked weekly |  |  |  |  | ( Work order generated |
| MSDS manual and inventory up-to-date |  |  |  |  |  |
| Staff know what MSDS is (check 10% of staff) | N= | N= |  |  |  |
| Staff can locate MSDS (check 10% of staff) | N= | N= |  |  |  |
| Staff know the procedure for a tube system spill | N= | N= |  |  |  |
| Staff know the procedure for radioactive trash | N= | N= |  |  |  |
| Staff can answer question correctly : “What is your role in a Code Orange” | N= | N= |  |  |  |
| Other observations/recommendations: |  |  |  |  |  |
| EMERGENCY MANAGEMENT Pass Fail N/A Comments |
| Department/unit has adequate supply of flashlights and batteries in working order |  |  |  |  |  |
| Department/unit call-back list is current/accessible with date last updated |  |  |  |  |  |
| File cabinets, shelving units, bookcases bolted down. Shelves have safety fall guard |  |  |  |  | ( Work order generated |
| Staff can answer question correctly : “What is your role in a Code Triage Standby” | N= | N= |  |  |  |
| Staff know how to locate and use emergency radio | N= | N= |  |  |  |
| Have 1 staff person conduct a radio check |  |  |  |  |  |
| Staff know the location of the hospital disaster plan & dept disaster plan | N= | N= |  |  |  |
| Staff can answer question correctly: “What is your role in a Code Triage- Internal/External” | N= | N= |  |  |  |
| Staff can answer: Where is the Emergency Operation Center (EOC) in a disaster? | N= | N= |  |  |  |
| Can staff hear overhead paging in their area? |  |  |  |  |  |
| Other observations/recommendations: |  |  |  |  |  |
| BIOMEDICAL EQUIPMENT MANAGEMENT PLAN Pass Fail N/A Comments |
| Electrical equipment is properly grounded, with cords in good condition (not frayed, split or broken) |  |  |  |  | ( Work order generated |
| Defibrillator plugged into emergency outlet |  |  |  |  |  |
| Medical equipment has current tag and PM date |  |  |  |  | ( Work order generated |
| Crash cart / defibrillator log compliance (cart and defib q shift unless unit closed ) | N= | N= |  | % Compliance: ____ |  |
| Staff can answer: How do you know if a piece of medical equipment is overdue for preventative maintenance? | N= | N= |  |  |  |
| Test 2-3 pieces of equipment to ensure alarms activate/audible. | N= | N= |  |  |  |
| Other observations/recommendations: |  |  |  |  |  |
| FIRE PREVENTION Pass Fail N/A Comments |
| Walls, doors, floors, ceilings of smoke compartments free of holes |  |  |  |  | ( Work order generated |
| Fire extinguishers present, accessible with current inspection tag, signage |  |  |  |  | ( Work order generated |
| Fire hose present, nozzle in place, current tag |  |  |  |  | ( Work order generated |
| Fire alarm, pull station clearly signed, accessible |  |  |  |  | ( Work order generated |
| Doors not blocked or held open (door stop, tape…) |  |  |  |  |  |
| All fire/smoke doors unblocked, self-closing, latch |  |  |  |  | ( Work order generated |
| Supplies/equipment stored off the floor: EVS closets, linen closets |  |  |  |  |  |
| No supplies higher than 18” from ceiling where sprinkler or 24” if no sprinkler |  |  |  |  |  |
| Hallways clear of clutter, clear access (ingress/egress) |  |  |  |  |  |
| Evacuation route current and clearly posted |  |  |  |  | ( Work order generated |
| Ceiling tiles in place / intact / free of stains |  |  |  |  | ( Work order generated |
| Ceiling lights have cover guards |  |  |  |  |  |
| Bathroom sinks ADA compliant (pipes covered) |  |  |  |  | ( Work order generated |
| Staff able to demonstrate correct use of fire extinguisher | N= | N= |  |  |  |
| Staff can answer question correctly : “What is the procedure in event of a fire?” | N= | N= |  | % Compliance: _____ |  |
| 16. When was the last time you participated in a fire drill? |  |  |  | Circle: (1-3 mos) (4-6mos) (7-9mos) (10-12mos) |  |
| 17. Other observations/recommendations: |  |  |  |  |  |
| UTILITIES MANAGEMENT Pass Fail N/A Comments |
| Emergency exit lights in working order |  |  |  |  | ( Work order generated |
| Ice machine clean |  |  |  |  |  |
| No signs of abuse of extension cords, cheater plugs |  |  |  |  | ( Work order generated |
| Emergency shut-off valves, electrical panels identified and accessible |  |  |  |  | ( Work order generated |
| Staff can answer question correctly: “What would you do if you lost lights / water / gas” (ask one) |  |  |  |  |  |
| Electrical / mechanical rooms clean, no open holes |  |  |  |  |  |
| Check water temp in one sink |  |  |  | _____F. |  |
| Other observations/recommendations: |  |  |  |  |  |

Copy provided to Department Supervisor/Manager:    			Name: ____________________________		Date: ___/___/___