| Indoor Environment Quality (IEQ) Notification & Investigation |
| --- |
| Initial Assessment |  |  |
| Location: | Date: | Time: |
| Person Completing: | Ext: |
| Background Assessment: |
| I) Description of problem: |
| II) Name of person who reported problem: |
| I) Health Assessment: |
| Number and Location of people affected |
| Time, frequency, and duration of symptoms: |
| When did complaints start? |
| When did symptoms intensify? |
| Relationship of complaints to job activities, building location? |
| Medical treatment of any individual? ( Yes ( No |
| HCW Satisfaction? |
| II) Building Assessment: |
| Housekeeping: ( Adequate ( Needs Improvement: |
| Occupant density |
| # of staff in space |
| Job descriptions |
| Describe carpet, furnishings and finishes: |
| Type and location of HVAC and exhaust systems |
| History of recent construction, renovation, water incursion? ( No ( Yes – describe: |
| Possible sources of contamination? |
| Pesticide and other chemical in use (MSDS): ( No ( Yes – describe: |
| Nearby outdoor activities and businesses? ( No ( Yes – describe: |
| HVAC Inspection: |
| Are systems operating properly? ( No ( Yes – describe: |
| Are there ventilation deficiencies? ( No ( Yes – describe: |
| Thermal comfort deficiencies? ( No ( Yes – describe: |
| Define complaint areas based on HVAC system layout and operation? (room diagram) |
| What is the ventilation exchange rate? |
| Date last changed: |
| Coils: |  | Filters: |  | Fans: |  | Drip pans and trap: |  |
| Condensers: |  | Air Intakes: |  | Ductwork: |  | Location of air supplies and returns: |  |
| Pollutant Pathways and Pressurization: |
| Airflow patterns around complaint areas: (diagram) |
| Sampling Results: date/time |
| Carbon Dioxide |
| Temperature/RH |
| Carbon Monoxide/Ozone |
| Particulate |
| Biological |
| VOCs |
| Action Plan: |
| Possible pollutant pathways: |
| Sampling time and location: |
| Consultants: |
| Plumbing |
| EVS |
| Other: |